Questionnaire: Bioreactor/Fermenter for Microbial and Mammalian (suspension) Cell Culture

Please answer the following questions as completely as possible.

| I. Customer Information |  |
| --- | --- |
| Contact Person |  |
| Designation |  |
| Department |  |
| Company Name |  |
| Contact Number |  |
| Email Address |  |

| II. Intended Application of Bioreactor/Fermenter |  |  |  |
| --- | --- | --- | --- |
| 1. | Application | □ | Microbial Culture |
|  |  | □ | Suspension Cell Culture |
|  |  | □ | others |
| 2. | Type of microorganism/cells | □ | Bacteria |
|  |  | □ | Yeast |
|  |  | □ | Fungi |
|  |  | □ | Cell Line: |
|  |  | □ | Other: |
|  | *Please indicate organism or cell line to be cultured |  |  |
| 3. | Product | □ | Secreted Protein |
|  |  | □ | Non-Secreted /Inclusion body (IB) Protein |
|  |  | □ | Biomass |
|  |  | □ | Secreted Virus |
|  |  | □ | Non-Secreted Virus |
|  |  | □ | Others: |
| 4. | a. Current Culture System | □ | Spinner Flask (___ mL x ____) |
|  |  | □ | Stirred Tank Bioreactor ( ______ mL or L) |
|  |  | □ | Other: |
|  | b. Current Culture Scale in liters (L): |  |  |

| - III. Bioprocess Parameters |  |  |  |
| --- | --- | --- | --- |
| 1. | Current Process Mode | Batch Fed-Batch Continuous Repeated Batch Other: |  |
| 2. | Reactor Size | Minimum working volume: _______ L Maximum working volume: _______ L Working volume: ________ L |  |
| 3. | Agitation Speed | Range: rpm |  |
| 4. | Measurements Required | Temperature | oC to oC |
|  |  | pH | to |
|  |  | DO | % to % |
|  |  | Redox | mV to mV |
|  |  | □ Turbidity |  |
|  |  | □ Foaming |  |
|  |  | □ Level |  |
|  |  | □ pCO2 |  |
|  |  | □ O2/CO2 in Exhaust Gas |  |
|  |  | □ Others |  |

| - IV. Bioprocess Controls |  |  |
| --- | --- | --- |
| 1. | Sterilization | Temperature: oC to oC Period: |
| 2. | Temperature Control | - Double wall vessel - Heating Jacket - Heating Pad - Heating/Cooling Pad - Other: |
| 3. | pH Control | - Addition of Base - Addition of Acid - Addition of CO2 - Others: |
| 4. | Dissolved Oxygen Control | - Impeller Speed - Addition of O2 - Gas Flow Rate - Others: |
| 5. | Mixing Impeller | - Ruston Impeller - Marine blade impeller - Pitched blade impeller - Others: ____________________ |
| 6. | Foaming | - High - Low - Not yet determined |
| 7. | Applied Gases for Aeration | - Air - Air + O2 - Air + O2 + N2 - Air + O2 + N2 + CO2 - Gas Mixing System - Yes - No |
| 8. | Airflow | Range: vvm to vvm Control: - Regulator/ Rotameter (manual) - Mass Flow Controller (Automatic) - Others |
| 9. | Aeration Delivery | - Overlay - Sparger, - Sparger type: - Ring Sparger - Micro-sparger - Overlay and Sparger - Others |
| 10. | Pressure Control Requirements | - Manual Control - Automatic Control |
| 11. | Other Special Requirements |  |

| V. Bioreactor/Fermenter Hardware Requirement |  |  |  |
| --- | --- | --- | --- |
| 1. | Vessel Material | □ | Borosilicate Glass |
|  |  | □ | SS 316L |
|  |  | □ | Others: |
| 2. | Seeding/Inoculation | □ | Needleless Seeding Port |
|  |  | □ | Needle Injection Inoculation Port |
|  |  | □ | Others: |
| 3. | Fluid Addition | Number of ports- - 0 - 1 - 2 - 3 - 4 - 5 - 6 |  |
| 4. | Number of sampling port | Number of ports- - 0 - 1 - 2 |  |
| 5. | Air Filter Housing | Filter Size: □ 0.2µm - Others: Integrity Test Port: - Yes - No |  |
| 6. | Exhaust Filter Housing | Filter Size: □ 0.2µm - Others: Integrity Test Port: - Yes - No |  |

| VI. Software Requirement |  |  |  |
| --- | --- | --- | --- |
| 1. | Software compatibility | □ | Non-GMP |
|  |  | □ | GMP (21 CFR Part 11) |
|  |  | □ | Others: |
| 2. | Other requirements |  | - Data-log - Real-time trend - Remote control - Others ----------------------------------- |